## Slide 2: Introduction
Model information
Chia-Yi City
Type II Soil
45m
27m
2F~6F @ 4m
1F @ 4.5m
1st mode | 2nd mode | 3rd mode | Max. drift ratio | VE | LVD | NVD
1.386 sec | 1.275 sec | 1.075 sec | 0.012 | VE-2 |  | 
1st mode | 2nd mode | 3rd mode | Max. drift ratio | VE | LVD | NVD
1.386 sec | 1.275 sec | 1.075 sec | 0.012 | VE-2 |  | 

## Slide 3: Design of dampers
Design procedure
Decide control earthquake
Decide
Displacement spectrum & acceleration spectrum
Decide control story drift
Define
Define
Calculate
Calculate
Preliminary design
Define
Check
LVD design
NVD design
VE design

## Slide 4: Design of dampers
Preliminary design
Decide control earthquake
Decide control story drift

## Slide 5
Decide
Displacement spectrum & acceleration spectrum
Preliminary design
Design of dampers

## Slide 6
Linear viscous damper design
Design of dampers

## Slide 7: Design of dampers
Nonlinear viscous damper design

## Slide 8: Design of dampers
Viscoelastic damper design

## Slide 9: Analysis results
Design earthquake

## Slide 10: Analysis results
Story drift
X-direction
Story drift
Y-direction

## Slide 11
Roof acceleration response
X-direction
Linear VD | Relative Displacement |  | Ratio | Relative Velocity |  | Ratio | Absolute Acceleration |  | Ratio
 | Bare frame | VD | % | Bare frame | VD | % | Bare frame | VE | %
067 | 0.2700 | 0.1253 | 46.41 | 1.6367 | 1.0035 | 61.31 | 9.502 | 4.717 | 49.64
078 | 0.2662 | 0.1758 | 66.04 | 1.3923 | 0.8552 | 61.42 | 10.647 | 4.561 | 42.84
109 | 0.3214 | 0.1885 | 58.65 | 1.6144 | 0.8445 | 52.31 | 7.973 | 3.629 | 45.52
Nonlinear VD | Relative Displacement |  | Ratio | Relative Velocity |  | Ratio | Absolute Acceleration |  | Ratio
 | Bare frame | NVD | % | Bare frame | NVD | % | Bare frame | NVD | %
067 | 0.2700 | 0.1409 | 52.19 | 1.6367 | 0.6483 | 39.61 | 9.502 | 3.8886 | 40.92
078 | 0.2662 | 0.1087 | 40.83 | 1.3923 | 0.5405 | 38.82 | 10.647 | 3.4059 | 31.99
109 | 0.3214 | 0.1447 | 45.02 | 1.6144 | 0.5675 | 35.15 | 7.973 | 3.7857 | 47.48
Analysis results

## Slide 12: Analysis results
Roof acceleration response
X-direction
VE | Relative Displacement |  | Ratio | Relative Velocity |  | Ratio | Absolute Acceleration |  | Ratio
 | Bare frame | VE | % | Bare frame | VE | % | Bare frame | VE | %
067 | 0.2700 | 0.1367 | 50.63 | 1.6367 | 0.7831 | 47.85 | 9.502 | 5.013 | 52.76
078 | 0.2662 | 0.1274 | 47.86 | 1.3923 | 0.7224 | 51.89 | 10.647 | 4.851 | 45.56
109 | 0.3214 | 0.1444 | 44.93 | 1.6144 | 0.9575 | 59.31 | 7.973 | 5.179 | 64.96
Notes: 有效降低峰值

## Slide 13: Analysis results
Roof acceleration response
Y-direction
Linear VD | Relative Displacement |  | Ratio | Relative Velocity |  | Ratio | Absolute Acceleration |  | Ratio
 | Bare frame | VD | % | Bare frame | VD | % | Bare frame | VE | %
067 | 0.2518 | 0.1263 | 50.16 | 1.7387 | 1.0438 | 60.03 | 8.161 | 7.040 | 86.26
078 | 0.2412 | 0.1483 | 61.48 | 1.6896 | 0.8049 | 47.64 | 10.426 | 7.269 | 69.72
109 | 0.2907 | 0.1911 | 65.74 | 1.6535 | 0.8736 | 52.83 | 8.818 | 6.233 | 70.68
Nonlinear VD | Relative Displacement |  | Ratio | Relative Velocity |  | Ratio | Absolute Acceleration |  | Ratio
 | Bare frame | NVD | % | Bare frame | NVD | % | Bare frame | NVD | %
067 | 0.2518 | 0.1197 | 47.54 | 1.7387 | 0.6125 | 35.23 | 8.161 | 7.6632 | 93.90
078 | 0.2412 | 0.0955 | 39.59 | 1.6896 | 0.5424 | 32.10 | 10.426 | 6.1153 | 58.65
109 | 0.2907 | 0.1282 | 44.10 | 1.6535 | 0.6119 | 37.01 | 8.818 | 6.4271 | 72.89
Notes: 有效降低峰值

## Slide 14: Analysis results
Roof acceleration response
Y-direction
VE | Relative Displacement |  | Ratio | Relative Velocity |  | Ratio | Absolute Acceleration |  | Ratio
 | Bare frame | VE | % | Bare frame | VE | % | Bare frame | VE | %
067 | 0.2518 | 0.1269 | 50.40 | 1.7387 | 0.835 | 48.02 | 8.161 | 5.115 | 62.68
078 | 0.2412 | 0.1239 | 51.37 | 1.6896 | 0.7295 | 43.18 | 10.426 | 4.917 | 47.16
109 | 0.2907 | 0.1363 | 46.89 | 1.6535 | 0.9738 | 58.89 | 8.818 | 5.343 | 60.59
Notes: 有效降低峰值

## Slide 15: Analysis results
Roof displacement response
X-direction
Linear VD | Relative Displacement |  | Ratio | Relative Velocity |  | Ratio | Absolute Acceleration |  | Ratio
 | Bare frame | VD | % | Bare frame | VD | % | Bare frame | VE | %
067 | 0.2700 | 0.1253 | 46.41 | 1.6367 | 1.0035 | 61.31 | 9.502 | 4.717 | 49.64
078 | 0.2662 | 0.1758 | 66.04 | 1.3923 | 0.8552 | 61.42 | 10.647 | 4.561 | 42.84
109 | 0.3214 | 0.1885 | 58.65 | 1.6144 | 0.8445 | 52.31 | 7.973 | 3.629 | 45.52
Nonlinear VD | Relative Displacement |  | Ratio | Relative Velocity |  | Ratio | Absolute Acceleration |  | Ratio
 | Bare frame | NVD | % | Bare frame | NVD | % | Bare frame | NVD | %
067 | 0.2700 | 0.1409 | 52.19 | 1.6367 | 0.6483 | 39.61 | 9.502 | 3.8886 | 40.92
078 | 0.2662 | 0.1087 | 40.83 | 1.3923 | 0.5405 | 38.82 | 10.647 | 3.4059 | 31.99
109 | 0.3214 | 0.1447 | 45.02 | 1.6144 | 0.5675 | 35.15 | 7.973 | 3.7857 | 47.48

## Slide 16: Analysis results
Roof displacement response
X-direction
VE | Relative Displacement |  | Ratio | Relative Velocity |  | Ratio | Absolute Acceleration |  | Ratio
 | Bare frame | VE | % | Bare frame | VE | % | Bare frame | VE | %
067 | 0.2700 | 0.1367 | 50.63 | 1.6367 | 0.7831 | 47.85 | 9.502 | 5.013 | 52.76
078 | 0.2662 | 0.1274 | 47.86 | 1.3923 | 0.7224 | 51.89 | 10.647 | 4.851 | 45.56
109 | 0.3214 | 0.1444 | 44.93 | 1.6144 | 0.9575 | 59.31 | 7.973 | 5.179 | 64.96

## Slide 17: Analysis results
Roof displacement response
Y-direction
Linear VD | Relative Displacement |  | Ratio | Relative Velocity |  | Ratio | Absolute Acceleration |  | Ratio
 | Bare frame | VD | % | Bare frame | VD | % | Bare frame | VE | %
067 | 0.2518 | 0.1263 | 50.16 | 1.7387 | 1.0438 | 60.03 | 8.161 | 7.040 | 86.26
078 | 0.2412 | 0.1483 | 61.48 | 1.6896 | 0.8049 | 47.64 | 10.426 | 7.269 | 69.72
109 | 0.2907 | 0.1911 | 65.74 | 1.6535 | 0.8736 | 52.83 | 8.818 | 6.233 | 70.68
Nonlinear VD | Relative Displacement |  | Ratio | Relative Velocity |  | Ratio | Absolute Acceleration |  | Ratio
 | Bare frame | NVD | % | Bare frame | NVD | % | Bare frame | NVD | %
067 | 0.2518 | 0.1197 | 47.54 | 1.7387 | 0.6125 | 35.23 | 8.161 | 7.6632 | 93.90
078 | 0.2412 | 0.0955 | 39.59 | 1.6896 | 0.5424 | 32.10 | 10.426 | 6.1153 | 58.65
109 | 0.2907 | 0.1282 | 44.10 | 1.6535 | 0.6119 | 37.01 | 8.818 | 6.4271 | 72.89

## Slide 18: Analysis results
Roof displacement response
Y-direction
VE | Relative Displacement |  | Ratio | Relative Velocity |  | Ratio | Absolute Acceleration |  | Ratio
 | Bare frame | VE | % | Bare frame | VE | % | Bare frame | VE | %
067 | 0.2518 | 0.1269 | 50.40 | 1.7387 | 0.835 | 48.02 | 8.161 | 5.115 | 62.68
078 | 0.2412 | 0.1239 | 51.37 | 1.6896 | 0.7295 | 43.18 | 10.426 | 4.917 | 47.16
109 | 0.2907 | 0.1363 | 46.89 | 1.6535 | 0.9738 | 58.89 | 8.818 | 5.343 | 60.59

## Slide 19: Analysis results
Hysteresis loop
X-direction
Hysteresis loop
Y-direction

## Slide 20: Analysis results
Energy dissipation
X-direction

## Slide 21: Analysis results
Energy dissipation
Y-direction

## Slide 22: Nonlinear Time History Analysis
Modified PISA3D model

## Slide 23: Nonlinear Time History Analysis
Modified PISA3D model

## Slide 24: Nonlinear Time History Analysis
Test earthquake

## Slide 25: Nonlinear Time History Analysis
Story drift
X-direction

## Slide 26: Nonlinear Time History Analysis

## Slide 27: Design of FPS

## Slide 28: Design of FPS

## Slide 29: Design of FPS