## 載重Beam
unit : m | tributary area
| 10 |  | 8 | 8 | 10 |  | 樓高 | 欄杆高
11 | 55 |  | 44 | 44 | 55 |  | 4 | 1.4
| 95 | 247 |  | 247 |  | 95
8
11
| 55 |  | 44 | 44 | 55
RF | height | 3.4 |  |  |  |  | 2F~4F | height | 4
MRF-beam-coner |  | kg/m^2 | m^2 | m | kg/m |  | MRF-beam-coner
|  | Weight/Area | area | beam Length | Weight/Length |  |  |  | Weight/Area | area | beam Length | Weight/Length
W1 | slab | 280 | 55 | 10 | 1540 |  | W1 | slab | 280 | 55 | 10 | 1540
W2 | ceiling, air-condition piping and floor finishing | 150 | 55 | 10 | 825 |  | W2 | ceiling, air-condition piping and floor finishing | 150 | 55 | 10 | 825
W3 | exterior wall | 100 | 52.7 | 10 | 527 |  | W3 | exterior wall | 100 | 62 | 10 | 620
W4 | partition wall | 100 | 55 | 10 | 550 |  | W4 | partition wall | 100 | 55 | 10 | 550
W5 | live load | 300 | 55 | 10 | 1650 |  | W5 | live load | 300 | 55 | 10 | 1650
W6 | gravity beam | 15 | 55 | 10 | 82.5 |  | W6 | gravity beam | 15 | 55 | 10 | 82.5
W7 | girder | 30 | 55 | 10 | 165 | kN/m | W7 | girder | 30 | 55 | 10 | 165 | kN/m
|  |  |  | DEAD | 3689.5 | 36.194 |  |  |  |  | DEAD | 3782.5 | 37.1063
|  |  |  | LIVE | 1650 | 16.1865 |  |  |  |  | LIVE | 1650 | 16.1865
MRF-beam-mid | [6 empty] | MRF-beam-mid
|  | Weight/Area | area | beam Length | Weight/Length |  |  |  | Weight/Area | area | beam Length | Weight/Length
W1 | slab | 280 | 44 | 8 | 1540 |  | W1 | slab | 280 | 44 | 8 | 1540
W2 | ceiling, air-condition piping and floor finishing | 150 | 44 | 8 | 825 |  | W2 | ceiling, air-condition piping and floor finishing | 150 | 44 | 8 | 825
W3 | exterior wall | 100 | 27.2 | 8 | 340 |  | W3 | exterior wall | 100 | 32 | 8 | 400
W4 | partition wall | 100 | 44 | 8 | 550 |  | W4 | partition wall | 100 | 44 | 8 | 550
W5 | live load | 300 | 44 | 8 | 1650 |  | W5 | live load | 300 | 44 | 8 | 1650
W6 | gravity beam | 15 | 44 | 8 | 82.5 |  | W6 | gravity beam | 15 | 44 | 8 | 82.5
W7 | girder | 30 | 44 | 8 | 165 | kN/m | W7 | girder | 30 | 44 | 8 | 165 | kN/m
|  |  |  | DEAD | 3502.5 | 34.3595 |  |  |  |  | DEAD | 3562.5 | 34.9481
|  |  |  | LIVE | 1650 | 16.1865 |  |  |  |  | LIVE | 1650 | 16.1865
EBF-beam | [6 empty] | EBF-beam
|  | Weight/Area | area | beam Length | Weight/Length |  |  |  | Weight/Area | area | beam Length | Weight/Length
W1 | slab | 280 | 247 | 8 | 8645 |  | W1 | slab | 280 | 247 | 8 | 8645
W2 | ceiling, air-condition piping and floor finishing | 150 | 247 | 8 | 4631.25 |  | W2 | ceiling, air-condition piping and floor finishing | 150 | 247 | 8 | 4631.25
W3 | exterior wall | 100 | 0 | 8 | 0 |  | W3 | exterior wall | 100 | 0 | 8 | 0
W4 | partition wall | 100 | 247 | 8 | 3087.5 |  | W4 | partition wall | 100 | 247 | 8 | 3087.5
W5 | live load | 300 | 247 | 8 | 9262.5 |  | W5 | live load | 300 | 247 | 8 | 9262.5
W6 | gravity beam | 15 | 247 | 8 | 463.125 |  | W6 | gravity beam | 15 | 247 | 8 | 463.125
W7 | girder | 30 | 247 | 8 | 926.25 | kN/m | W7 | girder | 30 | 247 | 8 | 926.25 | kN/m
|  |  |  | DEAD | 17753.125 | 174.1582 |  |  |  |  | DEAD | 17753.125 | 174.1582
|  |  |  | LIVE | 9262.5 | 90.8651 |  |  |  |  | LIVE | 9262.5 | 90.8651
BRBF-beam | [6 empty] | BRBF-beam
|  | Weight/Area | area | beam Length | Weight/Length |  |  |  | Weight/Area | area | beam Length | Weight/Length
W1 | slab | 280 | 95 | 8 | 3325 |  | W1 | slab | 280 | 95 | 8 | 3325
W2 | ceiling, air-condition piping and floor finishing | 150 | 95 | 8 | 1781.25 |  | W2 | ceiling, air-condition piping and floor finishing | 150 | 95 | 8 | 1781.25
W3 | exterior wall | 100 | 27.2 | 8 | 340 |  | W3 | exterior wall | 100 | 32 | 8 | 400
W4 | partition wall | 100 | 95 | 8 | 1187.5 |  | W4 | partition wall | 100 | 95 | 8 | 1187.5
W5 | live load | 300 | 95 | 8 | 3562.5 |  | W5 | live load | 300 | 95 | 8 | 3562.5
W6 | gravity beam | 15 | 95 | 8 | 178.125 |  | W6 | gravity beam | 15 | 95 | 8 | 178.125
W7 | girder | 30 | 95 | 8 | 356.25 | kN/m | W7 | girder | 30 | 95 | 8 | 356.25 | kN/m
|  |  |  | DEAD | 7168.125 | 70.3193 |  |  |  |  | DEAD | 7228.125 | 70.9079
|  |  |  | LIVE | 3562.5 | 34.9481 |  |  |  |  | LIVE | 3562.5 | 34.9481

## 載重Deck
DECK-RF area loading |  | kg/m^2 | m^2 | kg/m^2 |  |  | 樓高 | 欄杆高
|  | Weight/Area | Area | Weight/Area |  |  | 4 | 1.4
W2 | ceiling, air-condition piping and floor finishing | 150 | 1080 | 150 |  |  | 36 | 30
W4 | partition wall | 100 | 1080 | 100 | Kn/m^2
|  |  | DEAD | 250 | 2.4525
| WATER TANK | 1000 | 64 | 1000 | 9.81
W5 | live load | 300 | 1080 | 300
|  |  | LIVE | 300 | 2.943
|  |  | height | 周長(m) | kg/m | Kn/m^2 | total
DECK-RF line loading | exterior wall | 100 | 2 | 132 | 200 | 1.962 | 3.3354
| parapet | 100 | 1.4 | 132 | 140 | 1.3734
DECK-4F~2F area loading |  | kg/m^2 | m^2 | kg/m^2
|  | Weight/Area | Area | Weight/Area
W2 | ceiling, air-condition piping and floor finishing | 150 | 1080 | 150
W4 | partition wall | 100 | 1080 | 100 | Kn/m^2
|  |  | DEAD | 250 | 2.4525
W5 | live load | 300 | 1080 | 300
|  |  | LIVE | 300 | 2.943
|  |  | height | 周長(m) | kg/m | Kn/m^2 | total
DECK-4F~2F line loading | exterior wall | 100 | 4 | 132 | 400 | 3.924 | 3.924